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Evacuation procedure for the 8th floor Dr. Bohr-Gasse 9

Each person allowed to work in the plant facilities receives training as an evacuation assistant by 
1. obtaining the document „Evacuation Assistants 1 Pager_2025_EN_DE“ and 
2. being briefed on the specific evacuation procedure for the 8th floor, as outlined below.
Since there is no permanent occupancy on the 8th floor, every user is trained as evacuation assistant. There is one warning vest located in room 8.113.
In the event of an alarm, the person nearest to the warning vest takes it and ensures, without putting themselves at risk, that 
· all rooms in the VBCF area are clear of persons (opening doors of the phyto-chambers is not necessary, but visual checks through the windows are), 
· the toilets and 
· the greenhouses to confirm that all other persons have left. 
The person leaves level 8 via the staircase and informs the reception desk that the 8th floor has been evacuated or that there are injured or impaired individuals requiring assistance. 
If the evacuation assistant leaves the building via staircase 2 (i.e. where the freight elevator is located) he/she leaves the building and walks outside the building to the main entrance (Dr. Bohr-Gasse 9) to notify the porter. 



Upon request, further documents are available:
· Sideletter_OrgBSK_Univie_Dr Bohrgasse 9_20170315_ V2
· 250422_Fire Safety Info Event DBG 9_DE_final
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